## Cover
GxP compliance checklist

## Contents
GxP compliance checklist
Overview: GxP is a bundle of quality guidelines and benchmarks designed to ensure that your products are safe for patient use and adhere to consistently enforced quality standards. GxP applies most readily to pharmaceutical and biopharmaceutical organizations through the requirements of FDA 21 CFR Part 210/11, though medical device organizations may find some elements of GxP adherence useful for their day-to-day operations.
GxP is by definition a loose and broad umbrella term: its ’x' can stand for an 'L' for laboratory, 'Doc' for documentation, an 'M' for manufacturing, a 'D' for distribution, and so on. This checklist has been designed as a starting point of guidance to ensure your organization understands and meets the core requirements of ‘good practice’ common to all regulated GxP businesses.
The 5 Ps
People
Procedures
Products
Premises & equipment
Processes & security

## People
People
Item Number | Requirement | Complete?
1 | Are all staff properly trained to perform the functions and activities of their roles? Is training linked to the relevant SOP(s) for that employee?
2 | Does each employee have an associated record of scheduled and completed training, preferably directly accessible by that employee, indicating date, type of training, and binding wet or e-signature?
3 | Do you assess and document the competency of employees on a regular basis?
4 | Does each employee receive retraining on an SOP if operationally significant changes have been made to the procedure?
5 | Are training records readily retrievable to ascertain and prove what training an employee has received, which employees have been trained on a particular procedure, or have attended a particular training program?
6 | Are company quality documents, GxP regulation literature and on-the-job training fully and properly provided to all new members of staff before they perform their duties?
7 | Are all your GxP trainers properly qualified through experience and training?
8 | Do you have an accurate organisational chart?
9 | Do you have a dedicated quality function/department within the business?
10 | Does the quality unit have the necessary authority and responsibility to approve or reject all components, drug product containers and closures, in-process materials, packaging materials, labelling and drug products?
11 | Does the QA unit have a person or department specifically charged with the responsibility of designing, revising, and obtaining approval for production and testing procedures, forms, and records?
12 | Can employees quickly and easily report quality events (issues, incidents, concerns and near misses) to the quality department, should they wish to do so?
13 | Are your consultants, contractors, suppliers, vendors and other third parties properly certified, trained and approved for that function?
14 | Are written records maintained stating the name, address, qualifications and date of service for any consultants and the type of service they provide?
GxP compliance checklist - 5 Ps

## Procedures
Procedures
Item Number | Requirement | Complete?
1 | Do you have a central listing of all live Standard Operating Procedures (SOPs)?
2 | Are SOPs available in their relevant business locations?
3 | Do you have an overarching SOP governing how other SOPs are drafted, revised, distributed, controlled and archived?
4 | Is there an SOP review schedule to ensure SOPs remain up-to-date, compliant and fit for purpose?
5 | Are all QA procedures and responsibilities fully documented, current and approved?
6 | Does a formal auditing function exist in the quality assurance department, with a documented SOP specifying audit personnel, scope/frequency of audits, and how reports are completed and distributed?
7 | Do all your facilities perform a periodic and formal review of the cost of poor quality (COPQ)?
8 | Are quality costs captured and measured via personnel, software or accounting records, with a view to consciously reducing those costs on a continuous basis?
9 | Does your facility have current written procedures for acceptance/rejections of products, containers, closures, labeling and packaging materials?
10 | Is each lot within each shipment of material or components assigned a distinctive code so material or component can be traced through manufacturing and distribution?
11 | Are all materials handled in such a way as to prevent contamination and to allow for cleaning and inspection?
12 | Are the production batch record and release test results reviewed for accuracy and completeness before a batch/lot of finished product is released?
13 | Are complaints, whether received in oral or written form, documented in writing and retained in a designated file or electronic database?
14 | Are complaints reviewed on a timely basis by your quality control unit, with documentation of any actions taken (or consciously not taken)?
15 | Is a documented and approved quality policy made available to all employees?
16 | Is there a change control system should amendments have to be made?
17 | Are deviations from standard procedures fully documented?
18 | Are corrective and preventative actions (CAPAs) fully documented alongside their relevant SOPs?
19 | Does the QA department routinely review production records to ensure that procedures are followed and properly documented?
GxP compliance checklist - 5 Ps

## Products
Products
Item Number | Requirement | Complete?
1 | Do you have fully documented specifications for raw materials, components, intermediate and finished product?
2 | Are standard methods followed for manufacture, packing, testing, sampling, status control, stability testing and records?
3 | Do you have a mechanism in place for reporting and acting on quality events such as batch management, product deviations, change requests and so on?
4 | If you’re a medical device organization, do you have a standard documented product design control methodology combining and comprising user requirements, inputs, outputs, risks and change controls? (Note: design controls are not explicitly connected to good manufacturing practice (GMP) requirements, but the same principles of complete and thorough process documentation apply.)
5 | Can you trace the end-to-end development history of the products your customers receive from you, from manufacturing to distribution?
6 | Can you pinpoint who contributed to product development, and how, from the beginning to end of your product development history, with specific user, date and time information recorded in line with ALCOA+ principles?
7 | Are all product information, documentation and tasks, such as trace matrices, product requirements and approvals, standardized across your business even if taking place within separate computerized systems?
8 | Has each supplier/vendor of material or component products to your organization been inspected/audited for proper manufacturing controls according to a documented procedure?
9 | If your business accepts products from a supplier, is at least one test conducted to confirm the identity of a raw material (bulk chemical or pharmaceutical) when a Certificate of Analysis is provided by your supplier and accepted by QA, with additional testing if no certificate is provided?
10 | Are labels for different products, strengths, dosage forms, etc., stored separately with suitable identification?
11 | Are rejected components, material, and containers quarantined and clearly marked to prevent their use?
12 | Are inventory control procedures written?
13 | Does your product control program identify destruction dates for obsolete or outdated materials, components, and packaging materials, with destruction activities fully documented and timestamped?
14 | Is stock rotated to ensure that the oldest approved product or material is used first?
15 | Do written procedures identify steps in the dispensing of material for production, including (1) release by QC, (2) documentation of correct weight or measure, (3) proper identification of containers and (4) observation and countersigning by a second person?
GxP compliance checklist - 5 Ps

## Premises & equipment
Premises & equipment
Item Number | Requirement | Complete?
1 | Is your office, warehouse, manufacturing site and general working facility clean and properly maintained?
2 | Is facility access restricted to approved personnel with a 24/7 security point of contact?
3 | Are all parts of the facility constructed in a way that makes them suitable for the manufacture, testing, and holding of your products, including available space, ventilation, lighting, air and water control?
4 | Do you have operational environmental controls and a facility safety program, and are they regularly audited?
5 | Do all staff have access to the correct safety equipment and PPE required for their role, with training completed before working in the GxP premises?
6 | Do you have documented cleaning, sanitation, cross-contamination prevention and waste disposal SOPs?
7 | Are adequate space, equipment and qualified personnel available for required testing?
8 | Do you have a properly maintained space for equipment, assets and paper-based documents?
9 | Is all equipment used to manufacture, process or hold your product of appropriate design and size for its intended use?
10 | Are machine surfaces that contact materials or finished goods non-reactive, non-absorptive, and non-additive so as not to affect the product?
11 | Are written procedures available for each piece of equipment used in the manufacturing, processing or holding of components, in-process material or finished product?
12 | Are all pieces of equipment clearly identified with easily visible markings?
13 | Do you have a documented process for validating and qualifying the equipment your organisation uses?
14 | Do you have a centralized equipment and asset inventory, including instruction and operation manuals?
15 | Do you have established, agreed and standardised tolerance limits and health monitoring procedures for equipment and assets?
16 | Do you have a documented process for replacing equipment or assets whose health falls outside the agreed tolerance limits?
17 | Are there documented and visible calibration and maintenance schedules?
18 | Does each maintenance and calibration event have an accompanying log capturing the time, date and relevant personnel?
19 | Are the records of equipment/asset calibration and maintenance securely stored and traceable?
GxP compliance checklist - 5 Ps

## Processes & security
Processes & security
Item Number | Requirement | Complete?
1 | Are your computer systems password-protected with individual user log-ins?
2 | Do you have a live and visible information security policy?
3 | Are your computer systems regularly backed up to prevent loss of data?
4 | Do you have a continuity plan in place for IT disruption?
5 | Are all computer system changes, maintenance actions, errors and repairs recorded?
6 | If you use quality management software to automate and manage our operation, has that software been fully validated for use?
7 | Do you have an existing documentation control system?
8 | Is there a dedicated physical or electronic repository for the storage of live and archived documents?
9 | Does that repository have controlled access?
10 | Is the document repository maintained, monitored and under control by dedicated personnel?
11 | Are all changes to documents audit-trailed, with superseded versions replaced and stored in line with ALCOA+ principles?
12 | Is there a Standard Operating Procedure for the storage, review, retention, and archiving of documents?
13 | Do you have a standard process for guaranteeing the security of all business data and documentation?
14 | Is there an electronic archive/ backup system for business documentation?
15 | Are operational system checks performed to enforce permitted sequencing of steps and events within your computerised systems?
16 | Are authority checks performed to ensure only authorized users can access your computerized systems?
17 | Are device checks performed (if relevant) to determine the validity of the source of data input or operational instruction within your computerized systems?
18 | Are computerized system actions signed off with FDA 21 CFR Part 11- and EU Annex 11-compliant e-signatures?
19 | Are all computerized system processes fully traceable with audit trails in line with ALCOA+ principles?
GxP compliance checklist - 5 Ps